# Connection and measurement

### Step 1

Access the following equipment:

- 12 volt power source

- 1 x 1Ω, 2Ω, 3Ω and 4Ω resistors

- connecting wires

- multimeter (or individual ammeter, voltmeter and ohmmeter).

Or

A circuit board for training purposes containing the above components, a suitable power source and meters.

### Step 2

Connect up the circuit shown below.

Note: If you are having any difficulty or are unsure how to connect this circuit, see your trainer for assistance and advice.

### Step 3

Set the power source to 12V and turn on. Measure the voltage drop at V1, V2 and V3 and the current flow at A1 and A2. Turn off the power source and write your measured values in the following table.

|  | Measured value | Predicted value | Difference between measured and predicted values |
| --- | --- | --- | --- |
| Voltage at V1 |  |  |  |
| Voltage at V2 |  |  |  |
| Voltage at V3 |  |  |  |
| Current through A1 |  |  |  |
| Current through A1 |  |  |  |

### Step 4

Using the appropriate formula calculate the predicted values you have measured. Place these values in the table above.

Calculate the difference between measured and predicted values and place in table.

Note: In the following area show the formula you have used and your calculations.

Briefly explain possible reasons for a difference between measured and predicted values.

### Step 5

Change your circuit to reflect the resistance values shown below.

### Step 6

Set the power source to 12V and turn on. Measure the voltage drop at V1, V2 and V3 and the current flow at A1 and A2. Turn off the power source and write your measured values in the following table.

|  | Measured value | Predicted value | Difference between measured and predicted values |
| --- | --- | --- | --- |
| Voltage at V1 |  |  |  |
| Voltage at V2 |  |  |  |
| Voltage at V3 |  |  |  |
| Current through A1 |  |  |  |
| Current through A1 |  |  |  |

### Step 7

Using the appropriate formula, calculate the predicted values you have measured. Place these values in the table above.

Calculate the difference between measured and predicted values and place in table.

Note: In the following area show the formula you have used and your calculations.

Briefly explain possible reasons for a difference.

### Step 8

Answer the following questions related to this activity.

What did you notice about the total current flow in the first circuit compared to the total current flow in the second circuit?

Did you expect to see any difference between total current flow in the first circuit and the second circuit? If so why?

What did you notice about the sum of the individual voltage drops in the first and second circuit?

Did you expect to see these voltage drops and if so why?

### Step 9

Present your completed task sheet to your trainer for feedback.

Note: This completed task sheet can be saved as evidence of work completed.