# Lighting circuits

### Connect lights using the loop at the light method

### Step 1

Use the following area to sketch a circuit diagram of the following circuits:

- one way switching using the loop at the light method

- two way switching using the loop at the light method.

### Step 2

Show your trainer your circuit diagrams and only move to the next step on their approval.

### Step 3

### Access the following equipment:

- single pole, double throw switch

- double pole, double throw switch

- continuity tester

- wiring

- batten holder/light fittings

- appropriate hand tools

- suitable work environment.

### Step 4

Following the circuit diagram you have drawn for one way switching using the loop at the light method, run necessary wires to the appropriate positions.

| Following the circuit diagram | Running the wiring |
| --- | --- |

Terminate the wiring at the batten.

| Termination at batten | Close up of wiring |
| --- | --- |

Terminate the wiring at the switch.

| Termination at switch | Close up of wiring |
| --- | --- |

When the connections are completed, test the circuit for correct operation.

Ask your trainer to check your work.

### Step 5

Follow a similar process to complete an installation of two way switching of a light.

Test the circuit for correct operation at completion.

Ask your trainer to check your work.